## MAIN_INPUT
gage_type | sn_gage_used_to_cal | graduation | procedure_used | date_calibrated | serial_number | mfg | model_number | inspector | direction | checkpoint_a_value | a_trial_1 | a_trial_2 | a_trial_3 | checkpoint_b_value | b_trial_1 | b_trial_2 | b_trial_3 | checkpoint_c_value | c_trial_1 | c_trial_2 | c_trial_3
Dial Indicator | 95901 | 0.001 | DP-140-04-203 | 2019-06-21 | 26477 | Starrett | 25-141 | QH | NORMAL | 0.05 | -0.0004 | -0.0002 | -0.0003 | 0.1 | -0.0006 | -0.0004 | -0.0007 | 0.16 | -0.0008 | -0.0008 | -0.0007
Dial Indicator | 95901 | 0.001 | DP-140-04-203 | 2019-06-21 | 26477 | Starrett | 25-141 | QH | OPPOSITE | 0.05 | -0.0001 | -0.0001 | -0.0001 | 0.1 | -0.0005 | -0.0004 | -0.0005 | 0.16 | -0.0008 | -0.0007 | -0.0008
Dial Indicator | 95901 | 0.001 | DP-140-04-203 | 2021-06-22 | 26477 | Starrett | 25-141 | QH | NORMAL | 0.05 | -0.0003 | -0.0003 | -0.0002 | 0.1 | -0.0005 | -0.0005 | -0.0006 | 0.16 | -0.0008 | -0.0007 | -0.0008
Dial Indicator | 95901 | 0.001 | DP-140-04-203 | 2021-06-22 | 26477 | Starrett | 25-141 | QH | OPPOSITE | 0.05 | -0.0002 | -0.0002 | -0.0003 | 0.1 | -0.0006 | -0.0006 | -0.0005 | 0.16 | -0.0008 | -0.0008 | -0.0007
Dial Indicator | 95901 | 0.001 | DP-140-04-203 | 2023-06-07 | 26477 | Starrett | 25-141 | QH | NORMAL | 0.05 | -0.0001 | -0.0002 | -0.0001 | 0.1 | -0.00015 | -0.00015 | -0.0002 | 0.16 | -0.0009 | -0.0008 | -0.0008
Dial Indicator | 95901 | 0.001 | DP-140-04-203 | 2023-06-07 | 26477 | Starrett | 25-141 | QH | OPPOSITE | 0.05 | -0.0001 | -0.00015 | 5e-05 | 0.1 | -0.0001 | -0.0001 | -0.0001 | 0.16 | -0.00085 | -0.0008 | -0.00085
Dial Indicator | 95901 | 0.001 | DP-140-04-203 | 2025-06-13 | 26477 | Starrett | 25-141 | QH | NORMAL | 0.05 | -0.0001 | -0.0001 | -0.0001 | 0.1 | -0.0001 | -0.0001 | -0.0001 | 0.16 | -0.0005 | -0.0005 | -0.0005
Dial Indicator | 95901 | 0.001 | DP-140-04-203 | 2025-06-13 | 26477 | Starrett | 25-141 | QH | OPPOSITE | 0.05 | -0.00015 | -0.00015 | -0.00015 | 0.1 | -0.0001 | -0.0001 | -0.0001 | 0.16 | -0.0006 | -0.0006 | -0.0005
Dial Indicator | 95901 | 0.001 | DP-140-04-203 | 2026-06-01 | 26477 | Starrett | 25-141 | CF | NORMAL | 0.05 | 0.0004 | 0.0003 | 0.0003 | 0.1 | 0 | -0.0001 | -5e-05 | 0.16 | 0.0001 | -0.0001 | -5e-05
Dial Indicator | 95901 | 0.001 | DP-140-04-203 | 2026-06-01 | 26477 | Starrett | 25-141 | CF | OPPOSITE | 0.05 | 0.0001 | 0 | 0 | 0.1 | -0.0001 | -0.00025 | -0.0003 | 0.16 | -0.0004 | -0.0004 | -0.0004

## INSTRUCTIONS
DIAL INDICATOR — DATA ENTRY INSTRUCTIONS
Each calibration DATE produces TWO rows: one NORMAL, one OPPOSITE direction.
Headers in row 1 are fixed — do not rename or reorder columns.
FIELD GUIDE:
gage_type → Always Dial Indicator for this sheet
sn_gage_used_to_cal → Serial number of the calibration standard used
graduation → Smallest unit on the gage (e.g. 0.001)
procedure_used → Procedure code (e.g. DP-140-04-203)
date_calibrated → YYYY-MM-DD or MM/DD/YYYY
serial_number → Serial number on the gage itself
mfg → Manufacturer (e.g. Starrett)
model_number → Model number on the gage
inspector → Initials of person who performed calibration
direction → NORMAL or OPPOSITE (use dropdown)
checkpoint_a_value → The measurement point for checkpoint a (e.g. .050)
a_trial_1/2/3 → The three readings at checkpoint a
checkpoint_b_value → The measurement point for checkpoint b (e.g. .100)
b_trial_1/2/3 → The three readings at checkpoint b
checkpoint_c_value → The measurement point for checkpoint c (e.g. .160)
c_trial_1/2/3 → The three readings at checkpoint c
RULES:
- Leave trial cells BLANK if no reading was taken. Never use 0 or -1 as a placeholder.
- Checkpoint values can change between calibrations — enter the actual value used.
- This sheet keeps FULL HISTORY (not overwrite). Each row is its own database record.